## Warranty Transmittal Log
Warranty Transmittal Log — Commercial Construction
closeoutdesk.com ¦ One row per warranty — include all mechanical, electrical, plumbing, fire protection, and controls warranties
Equipment / System | Equipment Tag | Model Number | Serial Number | Division | Warranty Provider | Warranty Type | Parts Period | Labor Period | Start Date | Expiration Date | Registered? | Document Reference | Claims Contact | Claims Phone | Claims Email | Exclusions / Notes
Carrier 30XA Chiller, Unit CHL-1 | CHL-1 | 30XA | CHL1-2026-04721 | Div 23 | Carrier Corporation | Manufacturer Parts & Labor | 5 years | 1 year | 2026-01-15 | 2031-01-15 | Yes — 2026-02-01 | Carrier_Chiller_Warranty.pdf | Carrier Warranty Dept | 800-555-0100 | warranty@carrier.com | Excludes damage from improper operation or refrigerant mishandling
Rooftop Unit, Lennox LGH180 | RTU-1 | LGH180 | LGH180-2026-00331 | Div 23 | Lennox International | Manufacturer Parts & Labor | 5 years | 1 year | 2026-02-01 | 2031-02-01 | Yes — 2026-02-15 | Lennox_RTU1_Warranty.pdf | Lennox Commercial | 972-555-0200 | commercial@lennox.com | Compressor: 10-year parts warranty (see attached extended warranty cert)
Electrical Distribution Switchgear | SWG-1 | I-Line 480V 800A | SQD-480-2026-1142 | Div 26 | Square D / Schneider Electric | Manufacturer Parts & Labor | 1 year | 1 year | 2026-01-20 | 2027-01-20 | N/A | SquareD_Switchgear_Warranty.pdf | SE Customer Care | 888-555-0300 | sqd.care@se.com
Fire Alarm System, Notifier NFS2-3030 | FA-1 | NFS2-3030 | NFS2-2026-88214 | Div 28 | Honeywell / Notifier | Manufacturer Parts & Labor | 1 year | 1 year | 2026-01-10 | 2027-01-10 | N/A | Notifier_FA_Warranty.pdf | Notifier Tech Support | 800-555-0400 | support@notifier.com | Battery backup not covered after 6 months from startup
Fire Suppression System | FSUP-1 | NFPA 13 Wet Pipe | — | Div 21 | Allied Fire Protection | Contractor Workmanship | N/A | 1 year | 2026-01-15 | 2027-01-15 | N/A | Allied_Fire_Warranty.pdf | Allied Service Dept | 555-555-0500 | service@alliedfire.com
Mechanical Labor — HVAC Contractor | — | — | — | Div 23 | ABC Mechanical Inc. | Contractor Workmanship | N/A | 1 year | 2026-03-01 | 2027-03-01 | N/A | ABC_Mech_WarrantyLetter.pdf | Jane Smith, PM | 555-555-0200 | jsmith@abcmech.com
Expiration Date color key:
Expires within 60 days or past due
Expires within 180 days
Active (>180 days remaining)